PERMANENT COUNCIL OF THE	OEA/Ser.G

ORGANIZATION OF AMERICA STATES	GT/IMG-18/16

29 March 2016

Ad Hoc Working Group on the Implementation of	Original: English

the Strategic Plan for Management Modernization

REAL PROPERTY AND CAPITAL MAINTENANCE STRATEGY

(Document prepared by the Secretariat of Administration and Finance)

Introduction

In 2007, the General Secretariat contracted an expert study of the state of maintenance of the historic buildings of the Organization’s headquarters (buildings 1-4 as noted in Annex I, “Real Property of the OAS”). The outcome of this study is the Existing Conditions Report (ECR).  A separate structural study of the Casa del Soldado, also a historic building, was conducted the same year.

In 2008, the General Secretariat submitted the ECR to the Permanent Council along with the Structural Study of the Casa del Soldado. These studies found that there was a significant backlog of deferred maintenance needs in these historic buildings.  The studies estimated the cost of carrying out this deferred maintenance at approximately $38 million in the Main Building (MNB), Casita (CAS), Museum (MUS), and Administrative (ADM) buildings, and approximately $1.8 million in the Casa del Soldado.

The Board of External Auditors of the Organization, starting in its report for the years 2010-2011, recommended that the Organization adopt an integrated real property strategy to address these deferred maintenance needs (see Annex II). The General Secretariat, in response to these recommendations, prepared a series of documents in 2011 and 2012 setting forth options to address deferred maintenance (see Annex III).  However, no consensus emerged in the Permanent Council regarding any of these options.

Taking account of the above outcome of the deliberations in the Permanent Council on the Integrated Real Property Strategy, the General Secretariat updated the Real Estate Property Strategy.

Real Property and Capital Maintenance Strategy Update

This strategy includes the following components:

- A general description of our overall real property situation, with a description of opportunities and challenges.

- The list of the deferred maintenance projects completed between 2009 and 2015.

- The current deferred maintenance list in the MNB, CAS, MUS, and ADM buildings.

- The current deferred maintenance projects for the GSB building.

- The list of critical maintenance projects which must be addressed urgently.

- Summary of Real Property Strategy

The OAS is fortunate to have a portfolio of several high value properties, several of them historic. The Main Building is inextricably tied to the history of the institution and should remain the cornerstone of our real property headquarters footprint.  However, through years of funding shortfalls, we have a major backlog of capital maintenance projects and threats to the continued safety and integrity of all the buildings, including the Main Building.

We seek to provide functional, safe office space to OAS personnel while reducing operational costs during a period of extreme financial austerity.  Among our goals, we seek to raise capital through the monetization of underutilized real estate, increase income from the rental of office space to international organizations and/or non-profit groups, reduce annual real estate costs by making more efficient use of our properties and installing modern operating equipment, and reduce redundancies by consolidating staff.

From an economic perspective, we are under-utilizing several properties/buildings:  
-- The highest and best value of the Casa del Soldado is to redevelop it, most likely into a new apartment building to replace the existing office annex, with preservation of the historic mansion.  Selling this building to one of several interested development firms would likely yield at least $10 million to the OAS, sufficient funds to pay for the OAS’s most-critical deferred capital maintenance projects with additional money remaining to address other infrastructure needs. The General Secretariat has sufficient space to accommodate Inter-American Defense Board personnel in the GSB building in high quality office space with full access to the many amenities of the GSB building and neighborhood. 
-- The Administrative (ADM) Building is configured to permit only 129 persons to work there, whereas with a thorough remodeling we would have office space for up to 208 persons (79 additional workstations), or even more if we moved the library to another space.  (See Annex IV attachment for full description.)

-- The land surrounding the Main building compound, including the parking lot, could be redeveloped into a new office building with underground parking.

-- The Museum building is underutilized due to insufficient funds. The space is not well configured for a museum, nor is there adequate storage space for art works.  Museum staff developed a concept to construct a new structure, with both underground and ground level space, to provide proper gallery and storage space.

-- The GSB is configured with very generous space per employee.  If reconfigured with greater density of cubicles and work stations, we could have more people working there.  We estimate we could add an estimated 32 additional cubicles/work spaces per floor.

-- Owing to the very high prices for commercial office space in the area, a commercial company could remodel and reconfigure the GSB space and obtain much higher rents than the OAS does for the same space.  This opens the possibility of selling the F St building to pay the mortgage and finance construction of a new office building adjacent to the Main Building.

Given the value of our real property and the urgent needs to identify funds to address critical maintenance requirements, we have excellent opportunities to sell under-performing properties and thereby address the long-term requirements of the OAS.

Continued failure to act will have extremely negative consequences. Continued neglect of our buildings and their systems will lead to significantly higher costs in future, possible building failures and evacuations.

Absent agreement by Member States to provide many millions of dollars in added funding for maintenance, the only feasible option to address our most critical capital building maintenance projects is to proceed with the immediate sale of the Casa del Soldado. This will generate revenue sufficient to pay for the most critical capital maintenance projects with additional funding to address other infrastructure requirements.

- Completed Project list (2009 – 2015)

Table 1, below, shows the summary of the deferred maintenance list projects completed between 2009 and 2015.  The full list of these projects is contained in Annex V.

| Table 1 Summary List of Projects Completed 2009 – 2015 * |
| --- |
| BUILDING | UPGRADE PROJECTS | ELECTRICAL PROJECTS | FIRE & LIFE SAFETY | MECHANICAL PROJECTS | PLUMBING | BUILDING REPAIRS | TOTALS |
| ADM | 114,701 | - | 475,000 | 421,410 | 11,794 | 63,523 | 1,086,428 |
| CASITA | - | - | - | - | - | 330,117 | 330,117 |
| MNB | 1,938,514 | 152,442 | 553,244 | 616,793 | 44,915 | 628,898 | 3,934,806 |
| MUSEUM | - | 9,576 | 7,491 | 103,613 | - | 425,250 | 545,930 |
| TOTAL | $2,053,215 | $162,018 | $1,035,735 | $1,141,816 | $56,709 | $1,447,788 | $5,897,281 |

*in 2007 $US as estimated in the Existing Conditions Report

- Deferred Maintenance List

Table 2, below, shows the summary of an updated list of the still outstanding deferred maintenance projects documented in the 2007 Existing Conditions Report. (The ECB did not evaluate projects for the General Secretariat Building; we list those separately below.)  See Annex VI for the full list of these projects.  The list is divided by building with each project ranked by implementation priority (critical, high priority, moderate, or low priority).

| Table 2 Summary List of Outstanding Deferred Maintenance Projects* |
| --- |
| BUILDING | UPGRADE PROJECTS | ELECTRICAL PROJECTS | FIRE & LIFE SAFETY | MECHANICAL PROJECTS | PLUMBING | BUILDING REPAIRS | TOTALS |
| ADM | 6,999,476 | 2,327,850 | 893,741 | 1,764,690 | 160,650 | 367,082 | 12,513,489 |
| CASITA | - | 36,162 | 122,286 | 18,900 | 20,790 | 73,966 | 272,104 |
| MNB | 10,097,540 | 2,904,099 | 2,493,946 | 635,647 | 88,200 | 377,513 | 16,596,945 |
| MUSEUM | 1,495,620 | 513,072 | 220,340 | 85,388 | 68,670 | 279,847 | 2,662,937 |
| TOTAL | $18,592,636 | $5,781,183 | $3,730,313 | $2,504,625 | $338,310 | $1,098,408 | $32,045,475 |

*in 2007 $US as estimated in the Existing Conditions Report

- General Secretariat Building (GSB) Deferred Maintenance List

Considering that the GSB was remodeled between 2002 and 2004, this building was not included in the 2007 Existing Condition Report. However, now more than 8 years later, the building requires specific upgrades and improvements. Table 3, below, shows the summary list of deferred maintenance projects for the GSB building (see Annex VII for the full list of these projects). The list mainly includes aging mechanical equipment that requires replacement, and an urgent requirement for a new roof.

| Table 3 Summary List of GSB Deferred Maintenance Projects* |  |
| --- | --- |
| BUILDING | UPGRADE PROJECTS | ELECTRICAL PROJECTS | FIRE & LIFE SAFETY | MECHANICAL PROJECTS | PLUMBING | BUILDING REPAIRS | TOTALS |
| GSB | $450,000 | - | - | $4,905,000 | - | - | $5,355,000 |
| Table 4 Grand Total Costs for Deferred Maintenance Projects (All Buildings)* |  |
|  | UPGRADE PROJECTS | ELECTRICAL PROJECTS | FIRE & LIFE SAFETY | MECHANICAL PROJECTS | PLUMBING | BUILDING REPAIRS | TOTALS |
| TOTAL | $19,042,636 | $5,781,183 | $3,730,313 | $7,409,625 | $338,310 | $1,098,408 | $37,400,475 |

*estimates in current US dollars

- Critical Projects List

The deferred maintenance projects ranked in the critical category are those that the building engineers deem must be performed as soon as possible to maintain the structural integrity of the buildings, as well as the safety and security of their occupants (see Annex VIII). The list includes critical projects from the Existing Conditions Report and the GSB building.  The estimated total cost of critical work to be performed is $5.2 million.

- Sources and Uses of Funds

Annex IX shows the actual sources and uses of funds to address both regular maintenance and deferred maintenance, from 2013 to 2015. It also shows the estimated amount available for 2016–2017 regular and deferred maintenance.

Based on these projections and ignoring inflationary costs increases, at this rate it will take several decades to address known deferred maintenance. In addition, we can predict with certainty that other new, significant maintenance projects will be added to the list of deferred items because other major building components will naturally reach the end of their life-cycles.  In addition, continued failure to address known building deficiencies will in some cases likely lead to further building deterioration and higher costs.

- Recommendations

The General Secretariat proposes the Permanent Council consider the following recommendations to address its portfolio of building deferred maintenance:

- Request the General Assembly to modify the IADB Statutes and authorize the sale of the Casa del Soldado, consistent with recommendations from the Board of External Auditors for the past eight years. The General Secretariat fully supports the Board’s conclusion that the sale of the Casa del Soldado remains the most viable option to provide the immediate resources necessary to address the deferred maintenance backlog.

Original Board of External Auditors Recommendation from 2007:

“The Board recommends that OAS agree upon a real property and capital plan to maximize the potential of OAS’ historic properties. As part of this strategy, OAS should immediately take action to sell the building at 16th Street and Euclid Street and to re-locate the Inter-American Defense Board personnel.  The use of the proceeds from this sale should be restricted to capital investment in other existing OAS properties. Part of this plan should include opportunities for fundraising outside of the normal quota structure.”

- Move the Inter American Defense Board office to another General Secretariat building, using proceeds of sale from the Casa del Soldado to pay for the move, including the necessary renovations to prepare the office space. Annex X shows the floor plan of the office space which can be assigned to be IADB on the 8th floor of the GSB building.  Annex XI shows three views from the corner offices.

- Deposit the proceeds of the sale of the Casa del Soldado in the Special Fund for Building Improvement, Maintenance, and Other Urgent Needs (BIMS) to be used as follows:

- to address critical deferred maintenance in the MNB, CAS, MUS, ADM, and GSB buildings for an estimated $5.2 million (Annex VIII).

- to remodel an area of the 8th  floor of the GSB and construct the offices and install the cubicles for the IADB,  This work is estimated at $500,000 plus additional funds for technology upgrades to prepare the offices and nearby shared conference rooms for IADB occupancy and requirements.  

Additional expenditures from this fund shall be approved by the Committee on Administrative and Budgetary Affairs.

ANNEX I

REAL PROPERTY OF THE ORGANIZATION OF AMERICAN STATES (OAS)

The Real Property of the Organization of American States (OAS) consists of the following buildings owned and/or operated by the OAS./

|  | Building | Year of Construction | Address | Construction Area (sq. ft) | Estimated Market Value * (in USD millions) | Regular Fund Budgetary Subprogram responsible for Operating and Maintenance Costs |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | OAS Main Building (MNB) | 1908 | 17th Street and Constitution Ave N.W., Washington D.C. 20006 | 109,609 | 110.0 | 124D (Building maintenance and Management) |
| 2 | OAS Art Museum of the Americas (Museum) | 1908 | 201 18th Street N.W. Washington D.C. 20006 | 9,606 |  | 124D |
| 3 | Casita | 1880 | 18th and C Streets N.W. Washington D.C. 20006 | 3,240 |  | 124D |
| 4 | OAS Administration Building (ADM) | 1948 | 19th Street and Constitution Ave N.W Washington D.C. 20006 | 63,799 | 47.0 | 124D |
| 5 | OAS General Secretariat Building (GSB) | 1978 | 1889 F Street N.W. Washington D.C. 20006 | 362,217 | 109.5 | 124D |
| 6 | OAS Secretary General’s Residence | 1990 | 2944 University Terrace NW Washington DC 20016 | 7,996 | 2.2 | 124D |
| 7 | OAS Secretary General’s Residence Annex | 1949 | 2908 University Terrace NW Washington DC 20016 | 1,440 | 1.1 | 124D |
| 8 | Casa del Soldado | 1905 | 2600 16th Street N.W Washington D.C. 20441 | 33,500 | 15.4 | 34K (Inter-American Defense Board) |
| 9 | Inter American Children’s Institute | 1908; 1940 | Av. 8 de Octubre 2904 – 2802, Montevideo, Uruguay | 21,560 | 1.0 | 34D (Inter-American Children’s Institute) |

* Construction value plus land value, according to District of Columbia 2015 property values.

The operating and maintenance costs associated with these buildings are all funded by the Regular Fund of the Organization.  Buildings 1-7 in Table 1, above, are managed by the Department of General Services, and maintenance costs are funded by Subprogram 124D, Building Maintenance and Management, in Chapter 12, “Basic Infrastructure and Common Costs” of the 2016 Program Budget.  Building 8 is managed by the Inter American Defense Board (IADB), and maintenance costs are funded by the corresponding subprogram, 34K.  Building 9 is managed by the Inter American Children’s Institute (IIN), and maintenance costs are funded by the corresponding subprogram, 34D. This Strategy assumes that buildings 8 and 9 will continue to be managed and funded by the IADB and the IIN, respectively.

ANNEX II

REAL ESTATE STRATEGY RECOMMENDED BY THE BOARD OF EXTERNAL AUDITORS

2013-2014 Report

The Board is aware that the historic property referred to as the Casa del Soldado is currently used as office space at less than capacity, and that the cost to maintain the property continues to far exceed the ability of the OAS to absorb it into its budget.

7. The Board recommends that the OAS develop a deferred maintenance strategy that preserves the assets for on-going and future use.

8. The Board recommends that the OAS develop a fixed asset strategy (which considers the sale of underutilized assets) that maximizes the use and investments in its fixed assets portfolio.

2012-2013 Report

1.8 The Board recommends that the OAS implement a deferred maintenance strategy that preserves the assets for future use.

The Board is aware that the historic property referred to as the Casa del Soldado is currently used as office space at less than capacity, and that the cost to maintain the property continues to far exceed the ability of the OAS to absorb it into its budget.  The Board still believes that the sale of the Casa del Soldado remains the most viable option to provide the resources necessary to address the maintenance backlog.

1.9 The Board recommends the sale of the Casa del Soldado, with all proceeds from the sale being used only to address facilities infrastructure problems and deferred maintenance at other OAS properties.

2011-2012 Report

The Board reaffirms its recommendation that the OAS implement a sustainable real property strategy that addresses the current deferred maintenance problems and preserves the assets for future use. This should include the sale of the Casa del Soldado.

2010-2011Report

1.7. The Board reaffirms its recommendation that the OAS implement a sustainable real property strategy that addresses the current deferred maintenance problems and preserves the assets for future use. This should include selling the Casa del Soldado.

1.8. The Board recommends that the funding and responsibility for the maintenance and repairs of the Casa del Soldado be transferred to the OGS.

Board of External Auditors Recommendation from 2007:

“The Board recommends that OAS agree upon a real property and capital plan to maximize the potential of OAS’ historic properties. As part of this strategy, OAS should immediately take action to sell the building at 16th Street and Euclid Street and to re-locate the Inter-American Defense Board personnel.  The use of the proceeds from this sale should be restricted to capital investment in other existing OAS properties. Part of this plan should include opportunities for fundraising outside of the normal quota structure.”

ANNEX III

GT/IMG-13/16: SUMMARY LIST OF DOCUMENTS SENT TO CAAP

ANNEX IV

ADM BUILDING

PROPOSED 2ND FLOOR PLAN DISTRIBUTION

ANNEX V

LIST OF COMPLETED PROJECTS

Administration Building

| Upgrade Projects |  |  |  | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- |
|  | Site Parking lot resurface - pre activities - conduits | 8,500 |
|  | Site - Re-asphalt parking lot |  |  | 70,851 |
|  | Site - Replacement of guard booth |  |  | 35,350 |
|  | Subtotal |  |  |  |  | 114,701 |
| Fire & Life Safety |  |  |  |  |
|  | Installation of smoke detection & fire alarm system | 475,000 |
|  | Subtotal |  |  |  |  | 475,000 |
| Mechanical Projects |  |  |  |  |
|  | Replace cooling tower supply fan |  | 6,599 |
|  | Installation of new heat exchanger |  | 21,778 |
|  | Installation of new chiller |  |  | 180,000 |
|  | Installation of new cooling tower |  |  | 213,033 |
|  | Subtotal |  |  |  |  | 421,410 |
| Plumbing |  |  |  |  |  |
|  | New plumbing on G level men's room |  | 5,494 |
|  | Install Backflow prevention |  |  | 6,300 |
|  | Subtotal |  |  |  |  | 11,794 |
| Building Repairs |  |  |  |  |
|  | Minor repair at title roof |  |  | 4,523 |
|  | Clean bronze doors & windows |  |  | 2,300 |
|  | Reset & regrout paver stones at front and terrace | 56,700 |
|  | Subtotal |  |  |  |  | 63,523 |
|  | Total ADM |  |  |  | 1,086,428 |

Casita

| Building Repairs |  |  |  | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- |
|  | Clean and paint gutters & downspouts |  | 8,253 |
|  | Install new high lime stucco at 1/4 exterior walls | 59,046 |
|  | Remove exterior cement stucco |  |  | 73,080 |
|  | Install new high lime stucco at 2/4 exterior walls | 59,046 |
|  | Install new high lime stucco at 3/4 exterior walls | 59,046 |
|  | Install new high lime stucco at 4/4 exterior walls | 59,046 |
|  | Install counter flash over skirt flashing at cupola | 12,600 |
|  | Subtotal |  |  |  |  | 330,117 |
|  | Total Casita |  |  |  | 330,117 |

Main Building

| Upgrade Projects |  |  |  |  |  | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Waterproof service driveway |  |  |  | 35,589 |
|  | Skylight complete repair |  |  |  | 888,968 |
|  | Repair interior & exterior doors & windows |  |  | 204,120 |
|  | Remove mortar & sealant in exterior marble joins & repoint & exterior repairs | 250,000 |
|  | Replace balusters and handrail |  |  |  | 50,000 |
|  | Install new flashing |  |  |  |  | 21,853 |
|  | Site - Resurface C St. Parking lot |  |  | 200,000 |
|  | Site - Resurface service driveway |  |  | 79,141 |
|  | Site - New Gate C St. Parking Lot |  |  | 23,869 |
|  | Site - Propagate the peace tree |  |  |  | 29,015 |
|  | Site - Restore historic planting scheme in gardens |  | 120,609 |
|  | Site - Replacement of guard booth |  | 35,350 |
|  | Subtotal |  |  |  |  |  | 1,938,514 |
| Electrical Projects |  |  |  |  |  |  |
|  | Restore lighting in patio |  |  |  | 13,442 |
|  | Restore lighting in historic exterior lighting fixtures |  | 48,000 |
|  | Complete renovation of electrical system (Including majority of the panels are over 45 years old) | 91,000 |
|  | Subtotal |  |  |  |  |  | 152,442 |
| Fire & Life Safety |  |  |  |  |  |  |
|  | Installation of new smoke detector and fire alarm |  | 475,000 |
|  | Installation of new Surveillance Cameras |  |  | 3,348 |
|  | Modify control system |  |  |  | 74,896 |
|  | Subtotal |  |  |  |  |  | 553,244 |
| Mechanical Projects |  |  |  |  |  |
|  | Replace 3 ea. 5 TON AC Units |  |  |  | 27,090 |
|  | Replace Radio 3 TON AC Unit |  |  |  | 7,447 |
|  | Replace AHU #6 |  |  |  |  | 34,217 |
|  | AHU #7 duct work upgrade |  |  |  | 6,017 |
|  | Replace 20 TON Patio AC Unit |  |  |  | 32,489 |
|  | Replace 2 30 TON HOA AC Units |  |  | 100,624 |
|  | Replace 200 TON Cooling Tower |  |  |  | 100,000 |
|  | Replace AHU #5 |  |  |  |  | 65,000 |
|  | Temperature sensor E/P Transducer |  |  | 7,500 |
|  | Replace Water Heater |  |  |  | 9,500 |
|  | Replace AHU#1 |  |  |  |  | 101,933 |
|  | Replace AHU#7 |  |  |  |  | 66,356 |
|  | Shop AHU Replacement |  |  |  | 28,720 |
|  | Purchase and Installation of Heat Pump for San Martin Conference Room | 29,900 |
|  | Subtotal |  |  |  |  |  | 616,793 |
| Plumbing |  |  |  |  |  |  |
|  | Restore plumbing in patio fountain |  |  | 44,915 |
|  | Subtotal |  |  |  |  |  | 44,915 |
| Building Repairs |  |  |  |  |  |  |
|  | Replace marble cracked in exterior steps |  |  | 500,000 |
|  | Structural repairs/ reinforcement to patio fountain |  | 19,908 |
|  | Repair areas of damaged or deteriorated interior plaster | 75,600 |
|  | Repair/paint interior areas/restrooms |  |  | 11,340 |
|  | Waterproof subgrade mechanical room |  |  | 22,050 |
|  | Subtotal |  |  |  |  |  | 628,898 |
|  | Total MNB |  |  |  |  | 3,934,806 |

Museum of the Americas

| Electrical Projects |  |  |  | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- |
|  | Exterior Lighting |  |  |  | 9,576 |
|  | Subtotal |  |  |  |  | 9,576 |
| Fire & Life Safety |  |  |  |  |
|  | Verified Smoke detector & Alarms |  | 491 |
|  | System and surveillance camera upgrade |  | 7,000 |
|  | Subtotal |  |  |  |  | 7,491 |
| Mechanical Projects |  |  |  |  |
|  | Replace 10 Ton. AC Unit |  |  | 37,643 |
|  | Upgrade heating ventilation and cooling system | 65,970 |
|  | Subtotal |  |  |  |  | 103,613 |
| Building Repairs |  |  |  |  |
|  | Clean & Repair masonry at building base |  | 384,300 |
|  | Repair interior plaster after downspout repairs | 9,450 |
|  | Repair or replace gutters |  |  | 31,500 |
|  | Subtotal |  |  |  |  | 425,250 |
|  | Total Museum |  |  |  | 545,930 |
|  | Total Completed Projects All Buildings |  | $5,897,281 |

ANNEX VI

DEFERRED MAINTENANCE PROJECTS

(by building and in order of urgency)

Administration Building

| Upgrade Projects |  |  |  |  | Priority | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Replace flat roof |  |  |  |  | Critical | 200,000 |
|  | Repair roof drainage |  |  |  |  | Critical | 50,000 |
|  | Remove sealant from marble joints and re-point |  | High | 2,726,000 |
|  | Remove sealant from brick parapet at flat roofs |  | High | 1,575,000 |
|  | Install backup generator |  |  |  | Moderate | 300,000 |
|  | Upgrade elevator to comply with new ADA safety and ADA standards | Moderate | 132,300 |
|  | Build new ADA ramp |  |  |  |  | Moderate | 44,100 |
|  | Install ADA drinking fountains on two floors |  |  | Moderate | 12,600 |
|  | Demolish rest rooms |  |  |  |  | Moderate | 567,000 |
|  | Renovate rest rooms and add ADA access |  |  | Moderate | 246,506 |
|  | Install new finishes in restrooms |  |  |  | Moderate | 119,700 |
|  | Modify two exit window to become exit doors |  | Low | 170,100 |
|  | Remove floor to create two exit stairs from 2nd floor |  | Low | 416,430 |
|  | Create two new exist stairs from second to first floor |  | Low | 181,440 |
|  | Build new exit stairs |  |  |  |  | Low | 37,800 |
|  | Install 2 new doors and frameset two exits |  |  | Low | 31,500 |
|  | New finishes in two exit ways |  |  |  | Low | 126,000 |
|  | Provide new exit signs |  |  |  | Low | 63,000 |
|  | Subtotal |  |  |  |  |  |  | 6,999,476 |
| Electrical Projects |  |  |  |  |  |  |
|  | Perform complete renovation of electrical system |  | Moderate | 2,094,750 |
|  | Provide Critical egress lighting |  |  |  | Low | 75,600 |
|  | Restore Exterior light fixtures |  |  |  | Low | 157,500 |
|  | Subtotal |  |  |  |  |  |  | 2,327,850 |
| Fire & Life Safety |  |  |  |  |  |  |
|  | Install sprinkler system |  |  |  | Critical | 873,200 |
|  | Upgrade surveillance cameras |  |  |  | High | 20,541 |
|  | Subtotal |  |  |  |  |  |  | 893,741 |
| Mechanical Projects |  |  |  |  |  |  |
|  | Install new condenser water pump and chilled water pump as standby | Critical | 35,000 |
|  | Install two (2) new high efficiency gas boilers and a gas chimney | Critical | 153,247 |
|  | Install water treatment plant |  |  |  | High | 25,000 |
|  | Modify Air handling unit’s return air system to meet code. | High | 175,463 |
|  | Modify the control system to have an all DDC system. |  | High | 100,000 |
|  | Removing all induction and fan coil units and providing Thermafuser VAV diffusers | High | 1,275,980 |
|  | Subtotal |  |  |  |  |  |  | 1,764,690 |
| Plumbing |  |  |  |  |  |  |  |
|  | Install back water valve on sewage pumps |  |  | Critical | 6,300 |
|  | Clean test and repair terrace drains |  |  | Critical | 12,600 |
|  | Repair fountain drainage system |  |  |  | High | 75,600 |
|  | Plumbing Upgrade |  |  |  |  | High | 66,150 |
|  | Subtotal |  |  |  |  |  |  | 160,650 |
| Building Repairs |  |  |  |  |  |  |
|  | Remove terrace pavers, replace waterproofing drainage | Critical | 7,560 |
|  | Clean and repairs roof drains & gutters |  |  | Critical | 7,560 |
|  | Seal all base flashings at parapet walls |  |  | Critical | 10,597 |
|  | Repair/Replace hardware as needed |  |  | High | 6,615 |
|  | Repair/waterproof cracks at the four joints in the underground tunnel | High | 8,190 |
|  | Clean bronze doors & windows |  |  |  | Low | 295,060 |
|  | Remove ferrous metal from stone |  |  | Low | 31,500 |
|  | Subtotal |  |  |  |  |  |  | 367,082 |
|  | Total ADM |  |  |  |  |  | 12,513,489 |

Casita

| Electrical Projects |  |  |  |  | Priority | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Create Critical lighting system |  |  |  | Critical | 29,862 |
|  | Install lighted exit signs |  |  |  | Critical | 6,300 |
|  | Subtotal |  |  |  |  |  |  | 36,162 |
| Fire & Life Safety |  |  |  |  |  |  |
|  | Install sprinkler system |  |  |  | Critical | 80,640 |
|  | Verify smoke detection & fire alarm systems |  | Critical | 18,900 |
|  | Upgrade surveillance cameras |  |  |  | High | 22,746 |
|  | Subtotal |  |  |  |  |  |  | 122,286 |
| Mechanical Projects |  |  |  |  |  |  |
|  | Install duct mounted humidifier |  |  |  | Moderate | 18,900 |
|  | Subtotal |  |  |  |  |  |  | 18,900 |
| Plumbing |  |  |  |  |  |  |  |
|  | Install back flow preventer |  |  |  | Critical | 20,790 |
|  | Subtotal |  |  |  |  |  |  | 20,790 |
| Building Repairs |  |  |  |  |  |  |
|  | Repair main entry door & hardware |  |  | High | 2,520 |
|  | Paint exterior cupola, soffits, windows, & doors |  | Moderate | 39,946 |
|  | Paint metal Roof |  |  |  |  | Moderate | 31,500 |
|  | Subtotal |  |  |  |  |  |  | 73,966 |
|  | Total Casita |  |  |  |  |  | 272,104 |

Main Building

| Upgrade Projects |  |  |  |  | Priority | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Repair embedded downspouts |  |  |  | Critical | 120,000 |
|  | Renovate toilets |  |  |  |  | High | 37,800 |
|  | Remove mortar & sealant in exterior marble joins & repoint & exterior repairs | Moderate | 1,466,111 |
|  | Conserve marble sculptures |  |  |  | Moderate | 945,000 |
|  | Upgrade sound systems public rooms |  |  | Moderate | 138,600 |
|  | Build elevator shaft |  |  |  |  | Moderate | 63,000 |
|  | Install new elevator |  |  |  |  | Moderate | 226,800 |
|  | Make one new rough opening in exterior wall |  | Moderate | 315,000 |
|  | Renovate restroom for greater capacity ADA |  | Moderate | 152,460 |
|  | Create new handicap entrance |  |  |  | Moderate | 157,500 |
|  | Install new door for handicapped entrance |  |  | Moderate | 56,700 |
|  | Frame & trim new handicap door |  |  | Moderate | 63,000 |
|  | Install new pool base |  |  |  |  | Low | 315,000 |
|  | Remove existing concrete in Reflecting Pool |  | Low | 1,031,940 |
|  | Replace balusters |  |  |  |  | Low | 1,021,000 |
|  | Clean all exterior surfaces with low pressure heated water and rinse a biocide | Low | 1,852,200 |
|  | Hall of the Americas acoustical improvements |  | Low | 66,024 |
|  | Site - All Grounds |  |  |  |  | Low | 1,644,357 |
|  | Repair cracks in terrazzo floors |  |  |  | Low | 425,048 |
|  | Subtotal |  |  |  |  |  |  | 10,097,540 |
| Electrical Projects |  |  |  |  |  |  |
|  | Upgrade HOA lighting |  |  |  | Critical | 56,700 |
|  | Surge Protection |  |  |  |  | Critical | 544,100 |
|  | Complete renovation of electrical system (Including majority of the panels over 45 years old) | High | 1,351,999 |
|  | Create Critical lighting system for egress |  |  | High | 126,000 |
|  | Remove inappropriate interior lighting |  |  | Moderate | 6,300 |
|  | Replace the main service switchboard 480VAC and transformer | Moderate | 630,000 |
|  | Cleaning and restore historic light fixtures |  |  | Low | 189,000 |
|  | Subtotal |  |  |  |  |  |  | 2,904,099 |
| Fire & Life Safety |  |  |  |  |  |  |
|  | Install sprinkler system |  |  |  | Critical | 1,184,420 |
|  | Install battery backed up exit signs to comply with life safety | High | 31,500 |
|  | Cameras and system upgrades |  |  |  | High | 92,922 |
|  | Modify control system |  |  |  | Low | 1,185,104 |
|  | Subtotal |  |  |  |  |  |  | 2,493,946 |
| Mechanical Projects |  |  |  |  |  |  |
|  | Replace AHU#2 |  |  |  |  | Critical | 40,000 |
|  | Replace AHU#4 |  |  |  |  | Critical | 40,000 |
|  | Replace heat pump serving the print shop with induction units | Critical | 25,000 |
|  | Install new condenser water pump and chilled water pump as standby | Critical | 15,000 |
|  | Replace all induction units |  |  |  | Critical | 270,000 |
|  | Install new heat boilers to replace steam system |  | Critical | 153,247 |
|  | Install water treatment plant |  |  |  | High | 37,800 |
|  | Install new heat exchanger |  |  |  | High | 19,600 |
|  | Modify air distribution system to create movement of the tree leaves | High | 35,000 |
|  | Subtotal |  |  |  |  |  |  | 635,647 |
| Plumbing |  |  |  |  |  |  |  |
|  | Back flow preventers on domestic water Fire protect and drainage. | Critical | 31,500 |
|  | Treat all corrode exposed steel structural members in drainage | Critical | 44,100 |
|  | New back water valves sewage pumps |  |  | Critical | 12,600 |
|  | Subtotal |  |  |  |  |  |  | 88,200 |
| Building Repairs |  |  |  |  |  |  |
|  | Wheel house: install new roofing & siding |  |  | Critical | 6,300 |
|  | Repair revolving door (treat corrosion) |  |  | High | 36,792 |
|  | Install subgrade waterproofing foundation walls |  | High | 20,790 |
|  | Upgrade door hardware/accessibility |  |  | Moderate | 6,300 |
|  | Paint metal Balconies |  |  |  | Moderate | 18,900 |
|  | Cleaning refinishing public areas (marble in lobby areas) | Moderate | 10,156 |
|  | Restore pink marble fountain in patio |  |  | Moderate | 56,700 |
|  | Remove all ferrous metal attachments in stone |  | Low | 31,500 |
|  | Repair steel structure at canopy driveway |  |  | Low | 18,900 |
|  | Make exterior fountains operational |  |  | Low | 74,785 |
|  | Restore fountain reflecting pool |  |  |  | Low | 50,400 |
|  | Design & install new concierge desk/security |  | Low | 45,990 |
|  | Subtotal |  |  |  |  |  |  | 377,513 |
|  | Total MNB |  |  |  |  |  | 16,596,945 |

Museum of the Americas

| Upgrade Projects |  |  |  |  | Priority | ECR Estimated Cost (US$2007) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Install exit signs as needed |  |  |  | Critical | 18,900 |
|  | Build new elevator shaft |  |  |  | Moderate | 50,400 |
|  | Install new elevator from basement to 2nd floor |  | Moderate | 226,800 |
|  | Build ADA Ramp |  |  |  |  | Moderate | 107,100 |
|  | Upgrade restrooms to comply with ADA |  |  | Moderate | 18,900 |
|  | Repair cracked terracotta pieces at soffits |  |  | Low | 535,500 |
|  | Remove interior walls covering windows |  |  | Low | 223,020 |
|  | New movable display wall system |  |  | Low | 315,000 |
|  | Subtotal |  |  |  |  |  |  | 1,495,620 |
| Electrical Projects |  |  |  |  |  |  |
|  | Upgrade total lighting and panels through-out display areas | High | 373,464 |
|  | Replace existing lighting battery backup system due to its age | High | 56,700 |
|  | upgrade lighting in rear Loggia |  |  |  | High | 82,908 |
|  | Subtotal |  |  |  |  |  |  | 513,072 |
| Fire & Life Safety |  |  |  |  |  |  |
|  | Install sprinkler system |  |  |  | Critical | 151,200 |
|  | Bring Building fire alarm system up to code |  |  | Critical | 56,081 |
|  | System and surveillance camera upgrade |  |  | High | 13,059 |
|  | Subtotal |  |  |  |  |  |  | 220,340 |
| Mechanical Projects |  |  |  |  |  |  |
|  | Install mechanical cooling & ventilation (HVAC) for logia | High | 85,388 |
|  | Subtotal |  |  |  |  |  |  | 85,388 |
| Plumbing |  |  |  |  |  |  |  |
|  | Install back water valve at drain |  |  |  | Critical | 36,540 |
|  | Install back flow preventers on domestic water supply |  | Critical | 32,130 |
|  | Subtotal |  |  |  |  |  |  | 68,670 |
| Building Repairs |  |  |  |  |  |  |
|  | Reinforce staircase |  |  |  |  | Critical | 12,600 |
|  | Repair doors & windows |  |  |  | High | 57,960 |
|  | Install new ADA door hardware |  |  |  | High | 6,300 |
|  | Repair exterior plaster after downspout repairs |  | High | 22,050 |
|  | Paint Exterior Plaster |  |  |  | High | 37,170 |
|  | Paint exterior wood and metal |  |  |  | High | 18,900 |
|  | Upgrade as needed |  |  |  |  | Moderate | 36,667 |
|  | Repair interior walls after added display |  |  | Low | 6,300 |
|  | Repair wood floors |  |  |  |  | Low | 81,900 |
|  | Subtotal |  |  |  |  |  |  | 279,847 |
|  | Total Museum |  |  |  |  |  | 2,662,937 |
|  | Total Deferred Maintenance Constitution Ave Buildings |  |  | $32,045,475 |

ANNEX VII

GENERAL SECRETARIAT BUILDING DEFERRED MAINTENANCE LIST

| Upgrade Projects |  |  |  |  | Priority | ECR Estimated Cost (US$2015) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Replace Roof |  |  |  |  | Critical | 450,000 |
|  | Subtotal |  |  |  |  |  |  | 450,000 |
| Mechanical Projects |  |  |  |  |  |  |
|  | Retrofit Chillers |  |  |  |  | Critical | 300,000 |
|  | Replace Data Center CRAC units Replacement |  | Critical | 100,000 |
|  | Replace Air Handling Unit# 1 Replacement |  |  | Moderate | 150,000 |
|  | Replace Air Handling Unit# 2 Replacement |  |  | Moderate | 130,000 |
|  | Replace Air Handling Unit# 3 Replacement |  |  | Moderate | 70,000 |
|  | Replace Air Handling Unit# 4 Replacement |  |  | Moderate | 100,000 |
|  | Replace Air Handling Unit# 7 Replacement |  |  | Moderate | 40,000 |
|  | Replace Induction Unit Replacement |  |  | Moderate | 3,900,000 |
|  | Replace Return Air Fan 1 Replacement |  |  | Low | 50,000 |
|  | Replace Return Air Fan 2 Replacement |  |  | Low | 25,000 |
|  | Replace Water Heater # 1 Replacement |  |  | Low | 20,000 |
|  | Replace Water Heater # 2 Replacement |  |  | Low | 20,000 |
|  | Subtotal |  |  |  |  |  |  | 4,905,000 |
|  | Total GSB |  |  |  |  |  | 5,355,000 |
|  | Deferred Maintenance All OAS Buildings | $37,400,475 |

ANNEX VIII

CRITICAL DEFERRED MAINTENANCE PROJECTS

(by building)

| Administration Building |  |  |  |  | Priority | ECR Estimated Cost (US$2007)* |
| --- | --- | --- | --- | --- | --- | --- |
|  | Replace flat roof |  |  |  |  | Critical | 200,000 |
|  | Repair roof drainage |  |  |  |  | Critical | 50,000 |
|  | Install sprinkler system |  |  |  | Critical | 873,200 |
|  | Install new condenser water pump and chilled water pump as standby | Critical | 35,000 |
|  | Install two (2) new high efficiency gas boilers and a gas chimney | Critical | 153,247 |
|  | Install back water valve on sewage pumps |  |  | Critical | 6,300 |
|  | Clean test and repair terrace drains |  |  | Critical | 12,600 |
|  | Remove terrace pavers, replace waterproofing drainage | Critical | 7,560 |
|  | Clean and repairs roof drains & gutters |  |  | Critical | 7,560 |
|  | Seal all base flashings at parapet walls |  |  | Critical | 10,597 |
|  |  |  |  |  |  |  |  | 1,356,064 |
| Casita |  |  |  |  |  |  |  |
|  | Create Critical lighting system |  |  |  | Critical | 29,862 |
|  | Install lighted exit signs |  |  |  | Critical | 6,300 |
|  | Install sprinkler system |  |  |  | Critical | 80,640 |
|  | Verify smoke detection & fire alarm systems |  | Critical | 18,900 |
|  | Install back flow preventer |  |  |  | Critical | 20,790 |
|  |  |  |  |  |  |  |  | 156,492 |
| General Secretariat Building |  |  |  |  |  |
|  | Replace Roof |  |  |  |  | Critical | 450,000 |
|  | Retrofit Chillers |  |  |  |  | Critical | 300,000 |
|  | Replace Data Center CRAC units Replacement |  | Critical | 100,000 |
|  |  |  |  |  |  |  |  | 850,000 |
| Main Building |  |  |  |  |  |  |  |
|  | Repair embedded downspouts |  |  |  | Critical | 120,000 |
|  | Upgrade HOA lighting |  |  |  | Critical | 56,700 |
|  | Surge Protection |  |  |  |  | Critical | 544,100 |
|  | Install sprinkler system |  |  |  | Critical | 1,184,420 |
|  | Replace AHU#2 |  |  |  |  | Critical | 40,000 |
|  | Replace AHU#4 |  |  |  |  | Critical | 40,000 |
|  | Replace heat pump serving the print shop with induction units | Critical | 25,000 |
|  | Install new condenser water pump and chilled water pump as standby | Critical | 15,000 |
|  | Replace all induction units |  |  |  | Critical | 270,000 |
|  | Install new heat boilers to replace steam system |  | Critical | 153,247 |
|  | Back flow preventers on domestic water Fire protect and drainage. | Critical | 31,500 |
|  | Treat all corrode exposed steel structural members in drainage | Critical | 44,100 |
|  | New back water valves sewage pumps |  |  | Critical | 12,600 |
|  | All Grounds: Site partial - Removal of voluntary trees |  | Critical | 15,000 |
|  | Wheel house: install new roofing & siding |  |  | Critical | 6,300 |
|  |  |  |  |  |  |  |  | 2,557,967 |
| Museum of the Americas |  |  |  |  |  |  |
|  | Install exit signs as needed |  |  |  | Critical | 18,900 |
|  | Install sprinkler system |  |  |  | Critical | 151,200 |
|  | Bring Building fire alarm system up to code |  |  | Critical | 56,081 |
|  | Install back water valve at drain |  |  |  | Critical | 36,540 |
|  | Install back flow preventers on domestic water supply |  | Critical | 32,130 |
|  | Reinforce staircase |  |  |  |  | Critical | 12,600 |
|  |  |  |  |  |  |  |  | 307,451 |
|  | TOTAL |  |  |  |  |  |  | 5,227,974 |

*With the exception of items listed under the GSB building, where we use 2015 estimated cost.

ANNEX IX

ESTIMATED SOURCES AND USES OF FUNDS FOR OAS BUILDING MAINTENANCE

|  | Sources of Funds | 2013 | 2014 | 2015 | 2016 | 2017 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | RF Subprogram 113D (Building Mgm & Maintenance) | 5,363 | 1,789 | 1,081 | 1,551 | 901 |
| 2 | RF Subprogram 113Z (Building Maintenance Utilities) |  | 1,374 | 1,232 | 1,199 | 1,199 |
| 3 | RF Subprogram 113V (Building Maintenance Security) |  | 912 | 911 | 892 | 842 |
| 4 | RF Subprogram 113U (Building Maintenance Cleaning) |  | 1,593 | 1,621 | 1,492 | 1,492 |
| 5 | Rental Income Contribution | 1,596 | 1,859 |  |  |  |
| 6 | Hall of the Americas Contribution | 355 | 160 | 102 | 110 | 110 |
| 7 | Parking Fund Contribution | 174 | 174 | 34 | 50 | 50 |
| 8 | Special Reserve Approved by the PC (831 Account) | 184 | 50 |  |  |  |
| 9 | Chile Voluntary Contribution |  | 22 |  |  |  |
| 10 | China Voluntary Contribution |  | 203 |  |  |  |
| 11 | Total Sources of Funds | 7,672 | 8,136 | 4,982 | 5,293 | 4,593 |
|  | Uses of Funds |  |  |  |  |  |
| 12 | Repayment of Demand Notes (F Street Renovation) | 2,123 | 2,091 | 368 | 91 | 100 |
| 13 | HQ Buildings Utilities | 1,277 | 1,374 | 1,232 | 1,199 | 1,199 |
| 14 | HQ Buildings Security | 875 | 912 | 911 | 892 | 842 |
| 15 | HQ Cleaning and General Services | 1,531 | 1,593 | 1,621 | 1,492 | 1,492 |
| 16 | a HQ Buildings General Maintenance | 1,152 | 995 | 721 | 1,120 | 746 |
| 17 | b HQ Deferred Maintenance (ECR) | 484 | 1,171 | 128 | 500 | 215 |
| 18 | Sub Total Maintenance (a+b) | 1,636 | 2,166 | 850 | 1,620 | 961 |
| 19 | Total Uses of Funds | 7,442 | 8,136 | 4,982 | 5,293 | 4,593 |
| 20 | Returned to Regular Fund | 230 | 0 | 0 | 0 | 0 |

*This table covers maintenance activities for buildings 1-7 Annex I above.

ANNEX X

PROPOSED OFFICE AREA ASSIGNMENT FOR IADB

GSB 8th Floor

ANNEX XI

VIEW FROM CORNER OFFICES ASSIGNED TO IADB

GSB 8th FLOOR

# Footnotes

.	Inter American Children’s Institute building is owned by the IIN.

# Text boxes

CP35781E01.doc